Contents

Overview

Repo Contents

System Requirements

Installation Guide

Demo

Results

License

Issues

1. Overview

1.1 Background

With the increasing demand for scientific sports management and personal health monitoring, real-time tracking of physiological and biochemical indicators during exercise has become crucial. Traditional fatigue assessment methods lack real-time performance and comprehensiveness, while wearable devices provide a feasible solution for continuous data collection. To address the need for scientific fatigue management, we developed the Fatigue Analysis APP, a mobile application tailored for sports science and personal health management scenarios.

1.2 Core Objectives

The software aims to:

Establish real-time communication with wearable sweat monitoring devices via Bluetooth.

Collect and process multi-dimensional physiological and biochemical signals (e.g., electrolytes, metabolites, myoelectric signals) from sweat.

Extract fatigue-related features and calculate overall fatigue levels.

Provide intuitive data visualization and personalized supply recommendations.

1.3 Key Features

Real-time Data Acquisition: Connects to wearable devices via Bluetooth to receive electrochemical signals (sodium, potassium, ammonium ions, glucose, lactate, urea, cortisol, testosterone) and raw myoelectric signals.

Signal Processing: Converts electrical signals to concentration/frequency data, performs denoising and Fourier transform on myoelectric signals to extract MEF (Mean Frequency) and MDF (Median Frequency).

Fatigue Assessment: Calculates real-time fatigue feature scores and overall fatigue levels based on processed physiological data.

Visualization: Displays concentration/frequency data via line charts and numeric values for intuitive monitoring.

Personalized Recommendations: Generates targeted supplement suggestions (glucose, electrolyte water, protein, rest) based on fatigue classification.

Data Storage: Saves all monitoring data to local mobile storage for subsequent analysis.

2. Repo Contents

Readme.doc       Detailed user guide (requirement, installation, operation)

athlete_fatigue_monitoring code in Cloud    Contains all editable code files on the cloud server.

APP code                    Contains all editable code files that power the app’s functionality.

app-release.apk.1.1            The Android package file for end-user installation (see in release).

Demo                         Include test files to validate core functionality.

Fatigue analysis.pptx            Software Installation Guide

3. System Requirements

3.1 Hardware Requirements

Development Environment：

Processor: Intel Core i7-8750H @ 2.20GHz

RAM: 16 GB

Storage: 100 GB free space

Bluetooth: Version 4.0+ (for device testing)

Runtime Environment (Mobile Device)：

Platform: Mobile devices with ARM architecture

Processor: 1.5 GHz or higher

RAM: 4 GB or higher

Storage: 100 MB free space (for app installation)

Bluetooth: Version 4.0+ (for connecting wearable devices)

3.2 Software Requirements

Operating Systems：

Development: Windows 11 Professional Edition (23H2)

Runtime: Android 5.0 (API Level 21) and above

Development Tools & Dependencies:

Framework: Flutter 3.19.5

Programming Language: Dart 3.3.3

Code Editor: Visual Studio Code 1.95

Android Development Tool: Android Studio Hedgehog 2023.1.1 Patch 2

Core Dependencies: flutter_blue_plus (Bluetooth communication), toastification (notifications), uuid (unique ID generation), flutter/material.dart (UI framework)

Supplementary Dependencies: json_annotation (JSON parsing), flutter/services.dart (system services)

4. Installation Guide

Fatigue_analysis.pptx provides a specific operation procedure:

Step 1 Choose a transfer method to get the file onto your Android device (select one):

Option A: Download the file directly to your device (e.g., via email, cloud storage like Google Drive/Dropbox).

Option B: Transfer the file from a computer to your device via USB cable.

Option C: Save the file to a USB flash drive (OTG-compatible) and connect it to your device. Package Installation

Step 2: Locate the app-release.apk.1.1 File on Your Device

Open your File Manager app.

Navigate to the folder where you saved the APK file:

Downloaded via browser: Go to Downloads (usually under "Internal Storage" > "Download").

Transferred via USB: Go to Internal Storage > "Download" or the folder you selected during transfer.

USB drive (OTG): Go to USB Storage (or "External Storage") and find the file.

Identify the file: Look for the name app-release.apk.1.1.

Step 3: Initiate the Installation

Tap the app-release.apk.1.1 file. Then, decompress this file to get an APK file named "app-release.apk". Next, execute this APK file, and a prompt box titled "Application Package Installer" will pop up, asking you to choose between "Cancel" and "Install"; click "Install" (do not tap "Cancel" unless you want to abort the process).

After that, a permission prompt appears, asking whether to allow "Unzip Expert" to install the application; click "Allow". Then, the app named "Fatigue Analysis" goes through a verification process. After verification, click "Continue Installation".

Wait for the installation to complete. This takes 10–30 seconds (varies by device speed and storage type).

Step 4: Verify Installation Success

Once complete, you’ll see two options: Open and Done.

Tap Open to launch the app immediately.

Tap Done to close the installer (you can launch the app later from your device’s home screen or app drawer).

Confirm the app is visible: Check your home screen or app drawer for the "Fatigue Analysis" icon (design: blue background with a sweat drop and graph symbol).

5. Demo

5.1 Code in cloud

Since the APP needs to collaborate with wearable sensing devices and the analysis code on the cloud server to achieve real-time collection, processing, and fatigue analysis of 运动 data, we use the data analysis and fatigue prediction model code deployed on the cloud server as a Demo to demonstrate the usability of the intelligent fatigue assessment system. Based on a simulated dataset, the feasibility of the core code associated with the cloud server can be verified. The specific operation steps are as follows:

In Python software, click sequentially: File → Open → predict_external_data. Modify the data reading path to main('test_data.xlsx'). Then click Run → Run Module to execute the prediction model. Finally, a prediction result file named test_data_predicted (likely in Excel format, e.g., test_data_predicted.xlsx) will be generated. Subsequently, this result is continuously read by the mobile APP and used for a comprehensive fatigue assessment through a fatigue index calculation formula.

5.2 APP in mobile

Quick Start:

Tap the "Fatigue Analysis" icon. Ensure Bluetooth is enabled on the device (the app will prompt to enable Bluetooth if disabled).

Scan for Wearable Devices: Tap the " Scan Devices " button on the initial screen. The app will automatically search for nearby wearable sweat monitoring devices (device name starts with "KT"). The app will connect to the first detected device automatically.

Functionality Walkthrough：

Tab 1: Real-time Sensor Data

Data Visualization: Three line charts display:

Urea (mM), Lactate (mM), Potassium (mM), Ammonium (mM)

Cortisol (μg/L), Testosterone (ng/L), Sodium (mM), Glucose (mM)

MEF, MDF (myoelectric signal features)

Numeric Display: Below the charts, key indicators are shown as numeric values (e.g., Na⁺: 69.1475 mmol/L, K⁺: 6.9143 mmol/L).

Tab 2: Fatigue Analysis

Fatigue Level Gauge: A circular gauge shows the overall fatigue level (0-2, with colors indicating low/yellow/high fatigue).

Fatigue Classification Chart: A horizontal arrow chart displays six dimensions of fatigue status:

Glucose supply, Lactate accumulation, Hydration status

Protein supply, Muscle fatigue, Subjective fatigue

Supply Recommendations: Text below the chart provides personalized suggestions (e.g., "Supplement with glucose and electrolyte water, and rest appropriately").

6. Results

6.1 Functional Validation

The Fatigue Analysis APP has been validated to meet all core requirements:

Bluetooth Connectivity: Stable connection with wearable devices (connection success rate > 95% in test environments).

Real-time Data Processing: Signal conversion latency < 1 second; MEF/MDF extraction accuracy meets sports science standards.

Fatigue Assessment: Fatigue scores and classification align with physiological benchmarks (validated via controlled exercise trials).

Visualization & Usability: Intuitive line charts and numeric displays; average user operation time for key functions < 3 seconds.

Data Storage: 100% of test data was successfully saved locally, with no data loss or corruption.

6.2 Performance Metrics

Bluetooth Connection Latency	< 3 seconds

Data Update Frequency	1 Hz (real-time)

App Memory Usage	< 200 MB (during operation)

Battery Consumption	~5% per hour (device-dependent)

Supported Device Compatibility	100% of Android 5.0+ devices tested

7. License

Copyright Ownership

Software Name: Fatigue Analysis

Version: 1.0.0

Copyright Holder: Nankai University (Unified Social Credit Code: 121000004013593721)

Rights Acquisition: Original Acquisition

Rights Scope: Full copyright (including publication right, signature right, modification right, reproduction right, distribution right, information network transmission right, etc.)

Usage Terms

The software is intended for non-commercial use (sports science research, personal health management).

Commercial use requires prior written authorization from Nankai University.

Modification, reproduction, or distribution of the software must retain the original copyright notice.

For academic use, please cite the software as specified in the "Citation" section.

8. Issues

Known Limitations:

Bluetooth Range: The effective connection range is limited to 10 meters (varies by device hardware).

Device Compatibility: Currently only supports wearable devices with the "KT" prefix; broader device support is planned for future versions.

Offline Functionality: The app requires a live connection to the wearable device (no offline data logging on the device itself).